## Slide 1: Pall Ultrafiltration Technology in Water Filtration

## Slide 2: Water Quality Platform
The Complete Water Cycle Solution
Source Water
Distribution
Drinking Water Plant
Consumer
Industrial
Wastewater Treatment
Wastewater Collection
Environment
Complete water Cycle solutions

## Slide 3: Applications
Wastewater
Seawater
Surface Water

## Slide 4: Global Certifications
© Copyright 2009, Pall Corporation. Pall, , Pall Aria, Claris, Nexis, and Ultipleat are trademarks of Pall Corporation.
® Indicates a trademark registered in the USA. is a service mark of Pall Corporation.

## Slide 5
        Local Certifications
Pall solutions are Locally Certified

## Slide 6
Membrane Filtration vs Conventional Filtration

## Slide 7: Membrane Filtration vs Conventional Filtration
Granular Media
  Irregular Pore Size Distribution (50 -70 micron between grains)
  Probable Filtration
Membrane Media
  Controlled Pore Size Distribution (0.1 micron)
  Absolute Filtration
Membrane technology is Absolute Filtration

## Slide 8: One Step Solution …Hollow Fibre Membranes
Organic Matter
Clarification
Conventional
Membranes
Turbidity
Sand Filter
Settling Tank – 2nd Stage Filter
Storage Polishing
Coagulant
&
Polymer
Coagulant
&
Polymer
Membranes are one step Filtration

## Slide 9: NO Feed Coagulant
FeCl3 or other coagulants are not required to operate Pall membranes in a stable mode.
FeCl3 is not used to boost flux.
Proven experience in operating membrane systems at high flux without coagulation.
No coagulation required
No Coagulation, No feed Chemicals injection

## Slide 10: Relative Sizes of Small Particles
Notes: 10

## Slide 11
Hollow Fiber
Permeate water
Concentrated water
Outside In Filtration
Inside Out Filtration
Raw water
Permeate water
Outside – inside Filtration
Pall

## Slide 12
Compact Layouts
Membrane Filtration vs Conventional Filtration

## Slide 13: Compact layouts, typical for 750 m3/hr 3 x 250 m3/hr “18,000 m3/d”
Module racks & Valve racks
Backwash tank with pumps
Air Blower/ Compressor with receiver
NaOCl / Caustic cleaning tank
Acid cleaning tank
Dimensions:
15 m x 12 m

## Slide 14: 100,000 m3/day layout system
Dimensions:
35 m x 30 m (approx.)

## Slide 15: Foot Print, Membranes vs Conventional
Compact, Smallest Foot Print

## Slide 16
PALL Products & Systems

## Slide 17: Pall — Filtration, Separation, and Purification
Providing filtration, separation, and purification solutions for all fluid management needs.
Notes: (To shorten presentation, can cut all single-OpCo-specific slides and just use overview slide – Slide 16.)
Pall’s water processing technology platform leverages core technologies, such as highly permeable hollow-fiber microfiltration membranes, to meet their customer’s varied and vast needs.
Image needs to be approved (Stock Image) or replace with alternative

## Slide 18: Pall Products & Systems
Landbased systems
AriaFit
AriaFlex
AriaFast
AriaCare
0 – 450 m³/h
Packaged systems
250 – 50 000 m³/h
Flexible systems
0 – multiple 200 m³/h
Flexible mobile systems
Services
for all Aria Water treatment systems
Meets all range of capacities

## Slide 19: Introducing
Flexible:
  Custom configured design for 5 m3/hr to 450 m3/hr
  Accommodates unique or existing space requirements
  Ease of expandability and upgrades
Intelligent:
  Smart diagnostics with intuitive operator dashboard enables easy system operation and optimization
  Pre-engineered, factory tested system modules ensures fast, problem free installation
Trustworthy:
  Processing over 1.5 Billion Gallons of water every day
  Over 15 years of operation experience and 2500 years of combined systems operation

## Slide 20: AriaFit
Fits in all layouts

## Slide 21: Containerized Systems
  Pall Containerized units for medium Communities
Pall has developed the container systems to match the medium capacity requirement “60 l/s”
The required space for the unit is only 12m x 3m “40 f”
The delivery time of the unit is only 60 -100 days
Pall container system capacity 60 lit/sec

## Slide 22: Inside and Outside the container

## Slide 23: Inside and Outside the container

## Slide 24: Inside and Outside the container

## Slide 25: Containerized Systems

## Slide 26: Small Capacity Units
Aria AX-2
Aria AX-3
Aria AX-4
 | Aria – AX 2 Unit | Aria – AX3 Unit | Ara- AX4 Unit
Capacity Ranges | Up to 200 m3/day | 200 - 500 m3/day | 500 – 1000 m3/day
Dimensions | 1.2 m x 1.2 m x 3.5 m | 1.8m x 1.6 m x 3.5m | 6.3 m x 1.5 m x 3.5 m

## Slide 27
Pall UF membranes, How it work?

## Slide 28: FILTRATION
Filtration
From the outside to the inside
From lower head to upper head
Treated Water Outlet
Raw
Water Inlet

## Slide 29: BACKWASH
Unique backwash with water and air followed by backwash with water
Reduced Wastewater Volumes
Wastewater Outlet
Air Inlet
Treated
Water
Inlet

## Slide 30: ENHANCED FLUX MAINTENANCE (EFM) and CLEANING IN PLACE (CIP)
Short Duration Cleaning (EFM)
  Less than 40 minutes
  No detergents
  Easy to discharge
  Reduced wastewater volumes
  Typically Once every 1-2 days
Solution Outlet
Solution Inlet
Long Duration Cleaning (CIP)
  Less than 4 hrs
  Standard Acid and Alkali
  Can be neutralized
  Typically Once every 6 - 9 months

## Slide 31: SHORT AND LONG DURATION CLEANS
Short Duration Cleaning (EFM)
  Less than 40 minutes
  No detergents
  Easy to discharge
  Reduced wastewater volumes
  Typically Once every 1-2 days
Long Duration Cleaning (CIP)
  Less than 4 hrs
  Standard Acid and Alkali
  Can be neutralized
  Typically Once every 6 - 9 months

## Slide 32: INTEGRITY TEST
Integrity Test
Automatic Pressure Decay Test
Visual Detection
Less than 5 minutes
Air
Inlet
Transparent Tube
In case of breakage, individual fibre can be identified.
Repair with pin
Transparent Tube

## Slide 33: Setting the standard – Membrane Integrity
Integrity Testing. Do not be afraid to use the right (higher) air pressures
Simple and Easy to use automatic procedure. Easy detection via transparent coupling
!

## Slide 34
Pilots & Case Studies in Egypt

## Slide 35
Pall Success Story in Egypt
Pall’s trials in Egypt
Year | Client | Location | Raw Water Source | Contact Person
2010 | Alexandria Water Co. | Manshia Plant | Mahmodia Canal | Eng. Nadia Abdu - Chairman
2010 | Suez Canal Authority | Suez | Ismailia Canal | Eng. Nageh Gad Al Haq- Utilities Manager
2011 | Qena Water Co. | Rawateb | Nile Water | Eng. Mohammed Ali - Chairman
2011 | Qena Water Co. | Rawateb | Well Water “Fe & Mn removal” | Eng. Mohammed Ali - Chairman
2011 | Giza Water Co. | Baharia Oasis | Well Water “Fe & Mn removal” | Eng. Amr El Wahsh - Chairman
2012 | Red Sea Water Co. | Marsa Alaam | Sea Water | Eng. Khaled El Morshid Water Desalination Consultant – Holding Company for Water and Waste Water
2012 | Damietta Water Co. | Fraskour | Nile Water | Eng. Saied Rabie - Chairman
2013 | Alexandria Water Co. | Siouf | SF backwash water | Eng. Nasra Noor Al Dein – Vice CEO

## Slide 36
                Pall Trail at Oasis – Giza
This trail had been performed at November 2011 on well water for removing the Iron and manganese from the raw water , By using oxidation upstream of Pall unit by aeration and sodium hypochlorite solution , Pall succeeded to produce high quality drinkable water without Fe or Mn.
Pall Unit at Oasis – Giza

## Slide 37
Raw Water Source : Mahmoudia Canal
Design Capacity : 700,000-720,000 m3/d
Product Capacity : 650,000 m3/d
Waste Water : 50,000 – 70,000 m3/d
Waste Water Analysis
    COD: 60 – 70 mg/l
    NTU: 100 - 410 NTU
    Avg wastewater : 50,000-70,000 m³/d
    Possible Recycling rate: 80 - 88 %
Difficult Conditions:
High TSS loading
High Turbidity
High fouling contamination
High COD
Suiof Water Treatment Plant – Suiof Area , Alexandria

## Slide 38
River water
700,000 m3/d
Sand Filters
Clarifiers
TW Tanks
650,000 m3/d
692,000 m3/d
Backwash water
40,000 m3/d
Backwash water
10,000 m3/d
Waste Collecting Tank
50,000 m3/d
Plant Scheme
Membrane
Filtration
42,000 m3/d
Pall Solution
Concentrated slurry: 8,000 m3/d
Total waste: 50,000 m3/d  reduced to < 10,000 m3/d
i.e. < 2% of 700,000 m3/d
Additional capacity added

## Slide 39: Backwash Water (mixed in Collecting Tank )

## Slide 40: BW Waste Water from the conventional plant = FEED TO PALL UNIT
Filtered Water
=PALL UNIT OUTLET

## Slide 41
Inlet Turbidity for Pall Unit 240- 410 NTU
Outlet Turbidity from Pall Unit 0.03- 0.1 NTU
Suiof Plant Lab. Result’s after 1st Sample:

## Slide 42
PALL References in Egypt

## Slide 43: Pall References in Egypt
Plant | Location | Capacity
Al Zouhor Water Treatment Plant | Alexandria | 60 l/sec - Plant
Ibrahimia Water Treatment Plant | Sharqia | 120 l/sec - 2containers
Bani Soeif Watre Treatment Plant | Bani Soif | 120 l/sec - 2 containers
Luxor Water Treatment Plant | Luxor | 120 l/sec - 2 containers
TelRak Water Treatment Plant | Sharquia | 300 l/sec - Plant
Farshoot Water Treatment Plant | Qena | 400 l/sec - Plant
Al Khosos | Army | 120 l/sec - Plant
New Orders - Under construction:-
Plant | Location | Capacity
GAMASA WTP | Daqahlia | 60 l/sec - Container
Rahmania WTP | Kafr Al Dawar | 60 l/sec - Container
Al Maged WTP | Bani Soif | 60 l/sec - Container
Hegaza | Qena | 60 l/sec - Container

## Slide 44: Application:- Drinking Water Customer name:- NOPWSD Capacity:- 10,000 m3/d Location:- Ibrahimia , Sharqia ,
Raw Water Source : Nile Water
Plant capacity : 10,000 m3/d
Commissioned : October 2015
Municipal Drinking Water

## Slide 45: Application:- Drinking Water Customer name:- NOPWSD Capacity:- 10,000 m3/d Location:- Bani Swaif , Egypt
Raw Water Source : Nile Water
Plant capacity : 10,000 m3/d
Year of Installation and commissioning
    July 2016
Municipal Drinking Water

## Slide 46: Application:- Drinking Water Customer name:- AWC Capacity:- 5,500 m3/d Location:- Alexandria , Egypt
Raw Water Source : Al Nasr Canal
Plant capacity : 5,500 m3/d
Year of Installation and commissioning
    August 2011
Municipal Drinking Water

## Slide 47: Application:- Drinking Water Customer name:- Egyptian Army Capacity:- 1,200 m3/d Location:- Cairo , Egypt
Raw Water Source : Nile Water
Plant capacity : 1,200 m3/d
Year of Installation and commissioning
    January 2013
Municipal Drinking Water

## Slide 48: Application:- Power Plant Customer name:- Veolia WS Capacity:- 20,160 m3/d Location:- Assuit , Egypt
Raw Water Source : Nile Water
Plant capacity : 20,160 m3/d
Year of Installation and commissioning
    October 2015
Boiler Feed Water

## Slide 49: Application:- Zero Liquid Discharge Customer name:- ENNPI Capacity:- 33,600 m3/d Location:- Eythidco , Alex , Egypt
Raw Water Source : Al Nasr Canal
Plant capacity : 33,600 m3/d
Year of Installation and commissioning
    November 2012
ZLD , RO pre treatment for zero liquid
Discharge plant

## Slide 50: Questions
Thank you